## Sheet1
Trial Area Utitility Discoveries
Expected in right position | Expected but in wrong position | Unknown Utilities not on survey
1 BT | 90mm Gas Main not at location showed on survey | 1x4000mm Drain
1 Water |  | 2x2.5" Pipes
1 Power Cable |  | 2x6" Pipes
1 4" Water Main |  | 1x5" Pipes
1xStreet Light Cable
2x90" Ducts with cables in them may be for flood lights
1x1" Lead Water Pipe
1x30mmØ Cable
4" Drain from manhole